Part – II

Financial Bid Document For

PROPOSED EXTERNAL PAINTING WORKS AT INDIAN BANK OFFICERS QUARTERS, GAUTAM APARTMENT, RAHEJA TOWNSHIP, RANI SATI MARG, MALAD, MUMBAI 400 097.

ZO/MUM(W)/PROP/TNDR/____

Date: 21/02/2025

PROJECT MANAGEMENT CONSULTANTS:

M/S CREATIVE CONSULTANTS

335, 3rd Floor, Kuber Complex, New Link Road,

Opp. Laxmi Industrial Estate, Andheri (west), Mumbai - 400 053.

Tel.: 022 – 49647088 / 9820935856 / 9619620379

Email: info@ccplindia.org

Web: www.ccplindia.org

Financial Bid

TENDER FOR EXTERNAL PANTING  WORKS AT INDIAN BANK OFFICERS QUARTERS, GAUTAM APARTMENT, RAHEJA TOWNSHIP, RANI SATI MARG, MALAD, MUMBAI 400 097

| Sr. No. | Description of the item | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| I. EXTERNAL PAINTING WORK: |  |  |  |  |  |
| 1. | EXTERNAL AREA WATERPROOF 10 YEARS PAINT / WORK PERFORMANCE WARRANTY OF THE BUILDING. After erection of Singal or double as required as per site conditions good conditions bamboo scaffolding and take other safety precautionary measures items for the work execution, start removing all loose and powdery residue, any fungus and algae thorough brushing, cleaning, making surface imperfections such as holes, dents, small visible cracks by filling using mixture of approved paint brand material and wash the building with high presser water jet machine then after surface preparations for the application of paint Providing and applying one coat base coat and apply two coats of waterproof Paint of approved brand which will give 10 years paint / work performance warranty of Asian Paints, ICI Dulex, and Berger Paints Completes as per the direction of Consulting Engineer / in-charge. After paint work execution clean the area properly and remove the scaffolding. Rate including with require scaffolding, bardan net, require safety net, required window covering and proper cleaning of window and premises during the painting work of the building. Note: - It should carry minimum 10 years paint and work performance warranty given by the manufacturers on Rs. 500/- stamp paper along with notary mentioning that if any type of defect noticed in warranty period on work done area and notified by Indian Bank/Consultant, then immediately contractor have to attend the same at free of cost for all above mentioned work. | Square Meter | 17565.00 |  |  |
| TOTAL AMOUNT |  |  |  |  |  |
| Add C GST @ 9% |  |  |  |  |  |
| Add S GST @ 9% |  |  |  |  |  |
| Total Amount With GST |  |  |  |  |  |

Declaration

I/We have read and understood all instructions/conditions and I have taken into account the above instructions/conditions while quoting the rates.

Place:

Date: